WATER QUALITY SQL ANALYSIS.

select * from water_quality_dataset;

HOW MANY WATER SAMPLES ARE POTABLE AND NOT POTABLE FROM EACH STATION?

select

Station_Name,

count(case when Overall_Potable = 'YES' then 'Y' end) as POTABLE,

count(case when Overall_Potable = 'NO' then 'N' end) as NOT_POTABLE,

count(case when Overall_Potable = 'N/A (Raw Source)' then 'R' end) as RAW_WATER

from water_quality_dataset

group by 1

order by 2 desc;

HOW MANY SAMPLES PASSED AND FAILED THE WHO COLIFORM STANDARDS FROM EACH OF THE STATIONS?

select

Station_Name,

count(case when WHO_Coliform_Pass = 'PASS' then 'P' end) as PASSED_SAMPLES,

count(case when WHO_Coliform_Pass = 'FAIL' then 'F' end) as FAILED_SAMPLES

from water_quality_dataset

group by 1

order by 3 desc;

HOW MANY SAMPLES PASSED AND FAILED THE WHO TURBIDITY STANDARDS FROM EACH OF THE STATIONS?

select

Station_Name,

count(case when WHO_Turbidity_Pass = 'PASS' then 'P' end) as PASSED_SAMPLES,

count(case when WHO_Turbidity_Pass = 'FAIL' then 'F' end) as FAILED_SAMPLES

from water_quality_dataset

group by 1

order by 3 desc;

HOW MANY SAMPLES PASSED AND FAILED THE WHO NITRATE STANDARDS FROM EACH OF THE STATIONS?

select

Station_Name,

count(case when WHO_Nitrate_Pass= 'PASS' then 'P' end) as PASSED_SAMPLES,

count(case when WHO_Nitrate_Pass = 'FAIL' then 'F' end) as FAILED_SAMPLES

from water_quality_dataset

group by 1

order by 3 desc;

HOW MANY SAMPLES PASSED AND FAILED THE WHO PH STANDARDS FROM EACH OF THE STATIONS?

select

Station_Name,

count(case when WHO_pH_Pass= 'PASS' then 'P' end) as pH_PASSED_SAMPLES,

count(case when WHO_pH_Pass = 'FAIL' then 'F' end) as pH_FAILED_SAMPLES

from water_quality_dataset

group by 1

order by 3 desc;

CORE KPIs

HOW MANY WATER SAMPLES WERE TESTED?

-- 300 water samples were analyzed

select count(*) from water_quality_dataset;

select count(Sample_ID) from water_quality_dataset;

HOW MANY DISTINCT STATIONS WERE THE SAMPLES COLLECTED FROM?

-- 5 stations

-- Station A - River Intake, Station B - Reservoir, Station E - Consumer Tap, Station D - Distribution Main, Station C - Treatment Plant Outlet

select distinct Station_Name from water_quality_dataset;

HOW MANY DISTINCT REGIONS ARE THERE?

-- 5 regions; North, East, Central, West, South

select distinct Region from water_quality_dataset;

WHAT IS THE AVERAGE pH LEVEL RECORDED?

-- 7.44

select round(avg(pH),2) as Average_pH from water_quality_dataset;

WHAT IS THE AVERAGE Hardness mg/L RECORDED?

-- 207.06 mg/L

select round(avg(Hardness_mgL),2) as Average_Hardness from water_quality_dataset;

WHAT IS THE AVERAGE Dissolved Oxygen mg/L RECORDED?

-- 8.14 mg/L

select round(avg(Dissolved_Oxygen_mgL),2) as Average_Dissolved_Oxygen from water_quality_dataset;

WHAT IS THE AVERAGE Turbidity NTU RECORDED?

-- 12.35 NTU

select round(avg(Turbidity_NTU),2) as Average_Turbidity from water_quality_dataset;

WHAT IS THE AVERAGE Conductivity uS cm RECORDED?

-- 359.6 uS/cm

select round(avg(Conductivity_uScm),2) as Average_Conductivity from water_quality_dataset;

WHAT IS THE AVERAGE Nitrate mg/L RECORDED?

-- 3.43 mg/L

select round(avg(Nitrate_mgL),2) as Average_Nitrate from water_quality_dataset;

WHAT IS THE AVERAGE BOD mg/L RECORDED?

-- 2.07 mg/L

select round(avg(BOD_mgL),2) as Average_BOD from water_quality_dataset;

WHAT IS THE AVERAGE Total Coliform CFU 100mL RECORDED?

-- 65.8

select round(avg(Total_Coliform_CFU_100mL),2) as Average_Total_Coliform from water_quality_dataset;

WHAT IS THE AVERAGE Chlorine mg/L RECORDED?

-- 0.49 mg/L

select round(avg(Chlorine_mgL),2) as Average_Chlorine from water_quality_dataset;

WHAT IS THE AVERAGE Temperature C RECORDED?

-- 19.21 *C

select round(avg(Temperature),2) as Average_Temperature from water_quality_dataset;

-- CHARTS

WHICH STATION AND REGION RECORDED THE HIGHEST AND LOWEST AVERAGE PH LEVELS IN THE TWO YEARS?

-- Station B - Reservoir recorded the highest average pH level(7.57)

-- Station C - Treatment Plant Outlet recorded the lowest average pH level(7.36)

-- East region recorded the highest average pH level(7.57)

-- South region recorded the lowest average pH level(7.36)

select

Station_Name,

Region,

round(avg(pH),2) as Average_pH

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION AND REGION RECORDED THE HIGHEST AND LOWEST AVERAGE HARDNESS MG/L IN THE TWO YEARS?

-- Station E - Consumer Tap recorded the highest average Hardness mg/L(226.27)

-- Station C - Treatment Plant Outlet recorded the lowest average Hardness_mg/L(192.28)

-- Central region recorded the highest average Hardness mg/L(226.27)

-- South region recorded the lowest average Hardness_mg/L(192.28)

select

Station_Name,

Region,

round(avg(Hardness_mgL),2) as Average_Hardness

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE DISSOLVED OXYGEN MG/L IN THE TWO YEARS?

-- Station B - Reservoir recorded the highest average Dissolved Oxygen mg/L(9.57)

-- Station E - Consumer Tap recorded the lowest average Dissolved Oxygen mg/L(7.39)

-- East region recorded the highest average Dissolved Oxygen mg/L(9.57)

-- Central region recorded the lowest average Dissolved Oxygen mg/L(7.39)

select

Station_Name,

Region,

round(avg(Dissolved_Oxygen_mgL),2) as Average_Dissolved_Oxygen

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE TURBIDITY NTU IN THE TWO YEARS?

-- Station A - River Intake recorded the highest average Turbidity NTU(45.93)

-- Station C - Treatment Plant Outlet recorded the lowest average Turbidity NTU(0.86)

-- North region recorded the highest average Turbidity NTU(45.93)

-- South region recorded the lowest average Turbidity NTU(0.86)

select

Station_Name,

Region,

round(avg(Turbidity_NTU),2) as Average_Turbidity

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE CONDUCTIVITY US CM IN THE TWO YEARS?

-- Station A - River Intake recorded the highest average Conductivity uS cm(513.42)

-- Station C - Treatment Plant Outlet recorded the lowest average Conductivity uS cm(281.9)

-- North region recorded the highest average Conductivity uS cm(513.42)

-- South region recorded the lowest average Conductivity uS cm(281.9)

select

Station_Name,

Region,

round(avg(Conductivity_uScm),2) as Average_Conductivity

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE NITRATE MG/L IN THE TWO YEARS?

-- Station A - River Intake recorded the highest average Nitrate mg/L(7.57)

-- Station C - Treatment Plant Outlet recorded the lowest average Nitrate mg/L(1.36)

-- North region recorded the highest average Nitrate mg/L(7.57)

-- South region recorded the lowest average Nitrate mg/L(1.36)

select

Station_Name,

Region,

round(avg(Nitrate_mgL),2) as Average_Nitrate

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE BOD MG/L IN THE TWO YEARS?

-- Station A - River Intake recorded the highest average BOD mg/L(2.96)

-- Station C - Treatment Plant Outlet recorded the lowest average BOD mg/L(1.68)

-- North region recorded the highest average BOD mg/L(2.96)

-- South region recorded the lowest average BOD mg/L(1.68)

select

Station_Name,

Region,

round(avg(BOD_mgL),2) as Average_BOD

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE TOTAL COLIFORM CFU 100ML IN THE TWO YEARS?

-- Station A - River Intake recorded the highest average Total Coliform CFU 100mL(230.48)

-- Station C - Treatment Plant Outlet recorded the lowest average Total Coliform CFU 100mL(2.03)

-- North region recorded the highest average Total Coliform CFU 100mL(230.48)

-- South region recorded the lowest average Total Coliform CFU 100mL(2.03)

select

Station_Name,

Region,

round(avg(Total_Coliform_CFU_100ml),2) as Average_Total_Coliform

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE CHLORINE MG/L IN THE TWO YEARS?

-- Station C - Treatment Plant Outlet recorded the highest average Chlorine mg/L(1.03)

-- Station B - Reservoir recorded the lowest average Chlorine mg/L(0.05)

-- South region recorded the highest average Chlorine mg/L(1.03)

-- East region recorded the lowest average Chlorine mg/L(0.05)

select

Station_Name,

Region,

round(avg(Chlorine_mgL),2) as Average_Chlorine

from water_quality_dataset

group by 1,2

order by 3 desc;

WHICH STATION RECORDED THE HIGHEST AND LOWEST AVERAGE TEMPERATURE C IN THE TWO YEARS?

-- Station E - Consumer Tap recorded the highest average Temperature(20.32)

-- Station B - Reservoir recorded the lowest average Temperature(18.47)

-- Central region recorded the highest average Temperature(20.32)

-- East region recorded the lowest average Temperature(18.47)

select

Station_Name,

Region,

round(avg(Temperature),2) as Average_Temperature

from water_quality_dataset

group by 1,2

order by 3 desc;

-- YEARLY ANALYSIS

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE PH LEVELS RECORDED?

-- Highest 2023 7.46

-- Lowest 2024 7.41

select

Year,

round(avg(pH),2) as Average_pH

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE HARDNESS MG/L RECORDED?

-- Highest 2024 (210.31 mg/L)

-- Lowest 2023 (204.02 mg/L)

select

Year,

round(avg(Hardness_mgL),2) as Average_Hardness

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE CHLORINE MG/L RECORDED?

-- Highest 2024 0.52 mg/L

-- Lowest 2023 0.46 mg/L

select

Year,

round(avg(Chlorine_mgL),2) as Average_Chlorine

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE TEMPERATURE C RECORDED?

-- Highest 2024 19.33 *C)

-- Lowest 2023 (19.09 *C)

select

Year,

round(avg(Temperature),2) as Average_Temperature

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE TOTAL COLIFORM CFU 100ML RECORDED?

-- Highest 2023 81.42/100ml

-- Lowest 2024 49.1/100ml

select

Year,

round(avg(Total_Coliform_CFU_100ml),2) as Average_Total_Coliform

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE BOD MG/L RECORDED?

-- Highest 2023 2.15 mg/L

-- Lowest 2024 1.98 mg/L

select

Year,

round(avg(BOD_mgL),2) as Average_BOD

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE NITRATE MG/L RECORDED?

-- Highest 2023 3.74 mg/L

-- Lowest 2024 3.09 mg/L

select

Year,

round(avg(Nitrate_mgL),2) as Average_Nitrate

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE CONDUCTIVITY US CM RECORDED?

-- Highest 2023 381.27 uS/cm

-- Lowest 2024 336.43 uS/cm

select

Year,

round(avg(Conductivity_uScm),2) as Average_Conductivity

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE TURBIDITY NTU RECORDED?

-- Highest 2023 14.65 NTU

-- Lowest 2024 9.89 NTU

select

Year,

round(avg(Turbidity_NTU),2) as Average_Turbidity

from water_quality_dataset

group by 1

order by 2 desc;

IN WHICH YEAR WAS THE HIGHEST AND LOWEST AVERAGE DISSOLVED OXYGEN MG/L RECORDED?

-- Highest 2023 8.22 mg/L

-- Lowest 2024 8.06 mg/L

select

Year,

round(avg(Dissolved_Oxygen_mgL),2) as Average_Dissolved_Oxygen

from water_quality_dataset

group by 1

order by 2 desc;

SEASONAL PATTERN

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE PH LEVELS RECORDED?

select

Month_name as Month_2023,

round(avg(pH),2) as average_pH

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(pH),2) as average_pH

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE HARDNESS MG/L RECORDED?

select

Month_name as Month_2023,

round(avg(Hardness_mgL),2) as average_Hardness

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Hardness_mgL),2) as average_Hardness

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE CHLORINE MG/L RECORDED?

select

Month_name as Month_2023,

round(avg(Chlorine_mgL),2) as average_Chlorine

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Chlorine_mgL),2) as average_Chlorine

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE TEMPERATURE C RECORDED?

select

Month_name as Month_2023,

round(avg(Temperature),2) as average_Temperature

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Temperature),2) as average_Temperature

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE TOTAL COLIFORM CFU 100ML RECORDED?

select

Month_name as Month_2023,

round(avg(Total_Coliform_CFU_100mL),2) as Average_Total_Coliform

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Total_Coliform_CFU_100mL),2) as Average_Total_Coliform

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE BOD MG/L RECORDED?

select

Month_name as Month_2023,

round(avg(BOD_mgL),2) as Average_BOD

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(BOD_mgL),2) as Average_BOD

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE NITRATE MG/L RECORDED?

select

Month_name as Month_2023,

round(avg(Nitrate_mgL),2) as Average_Nitrate

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Nitrate_mgL),2) as Average_Nitrate

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE CONDUCTIVITY US CM RECORDED?

select

Month_name as Month_2023,

round(avg(Conductivity_uScm),2) as Average_Conductivity

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Conductivity_uScm),2) as Average_Conductivity

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE TURBIDITY NTU RECORDED?

select

Month_name as Month_2023,

round(avg(Turbidity_NTU),2) as Average_Turbidity

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Turbidity_NTU),2) as Average_Turbidity

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;

IN WHICH MONTH OF THE YEAR 2023 AND 2024 WAS THE HIGHEST AND LOWEST AVERAGE DISSOLVED OXYGEN MG/L RECORDED?

select

Month_name as Month_2023,

round(avg(Dissolved_Oxygen_mgL),2) as Dissolved_Oxygen

from water_quality_dataset

where Year(Date) = 2023

group by 1

order by 2 desc;

select

Month_name as Month_2024,

round(avg(Dissolved_Oxygen_mgL),2) as Dissolved_Oxygen

from water_quality_dataset

where Year(Date) = 2024

group by 1

order by 2 desc;